## DETAILED ESTIMATE
Nexa Estimating, LLC | [5 empty] | PROJECT :
ADDRESS :
5900 Balcones Drive # 14421 St 100 Austin, TX, 78731
DATE :
SR # |  | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | Unit Labor Cost | Total Labor Cost | Unit Material Cost | Total Material Cost | UNIT TOTAL COST | TOTAL ITEM COST | TOTAL TRADE COST
| DIV.26 | ELECTRICAL | [10 empty] | 170821.9143
RACEWAYS, FITTING & BOXES
1 |  | 1" C | 38.191 | 10% | 42.0101 | LF | 0.56 | 23.5257 | 1.42 | 59.6543 | 1.98 | 83.18
2 |  | 0.75" C | 7.442 | 10% | 8.1862 | LF | 0.56 | 4.5843 | 1.22 | 9.9872 | 1.78 | 14.5714
3 |  | (3) 1.5" PVC SCH 40/P-RMC | 208.766 | 10% | 229.6426 | LF | 1.12 | 257.1997 | 1.76 | 404.171 | 2.88 | 661.3707
4 |  | 1.5" PVC SCH 40/P-RMC | 1062 | 10% | 1168.2 | LF | 0.34 | 397.188 | 0.55 | 642.51 | 0.89 | 1039.698
5 |  | 1" PVC SCH 40/P-RMC | 530.903 | 10% | 583.9933 | LF | 0.26 | 151.8383 | 0.5 | 291.9967 | 0.76 | 443.8349
6 |  | 1" P-RMC | 142.916 | 10% | 157.2076 | LF | 0.26 | 40.874 | 0.5 | 78.6038 | 0.76 | 119.4778
7 |  | 0.75" PVC SCH 40 | 33.226 | 10% | 36.5486 | LF | 0.32 | 11.6956 | 0.35 | 12.792 | 0.67 | 24.4876
8 |  | (8) 4" PVC SCH 40 | 128.941 | 10% | 141.8351 | LF | 6.5 | 921.9282 | 12.28 | 1741.735 | 18.78 | 2663.6632
9 |  | (2) 1.5" PVC SCH 40 | 87.516 | 10% | 96.2676 | LF | 0.65 | 62.5739 | 1.22 | 117.4465 | 1.87 | 180.0204
10 |  | 1.5" PVC SCH 40 | 21.878 | 10% | 24.0658 | LF | 0.47 | 11.3109 | 0.43 | 10.3483 | 0.9 | 21.6592
11 |  | (2) 2" PVC SCH 40/P-RMC | 1223 | 10% | 1345.3 | LF | 1.54 | 2071.762 | 1.8 | 2421.54 | 3.34 | 4493.302
12 |  | (2) 1.5" EMT/PVC SCH 40/ P-RMC | 232.965 | 10% | 256.2615 | LF | 1.23 | 315.2016 | 1.45 | 371.5792 | 2.68 | 686.7808
13 |  | 1" EMT/PVC SCH 40/ P-RMC | 347.547 | 10% | 382.3017 | LF | 0.89 | 340.2485 | 0.76 | 290.5493 | 1.65 | 630.7978
14 |  | 1" EMT/PVC SCH 40/ P-RMC | 75.362 | 10% | 82.8982 | LF | 0.89 | 73.7794 | 0.76 | 63.0026 | 1.65 | 136.782
15 |  | 1.25" PVC SCH 40/ RMC | 109.695 | 10% | 120.6645 | LF | 0.72 | 86.8784 | 1.08 | 130.3177 | 1.8 | 217.1961
16 |  | 0.75" PVC SCH 40/ RMC | 266.4 | 10% | 293.04 | LF | 0.32 | 93.7728 | 0.55 | 161.172 | 0.87 | 254.9448
17 |  | 1" PVC SCH 40/ RMC | 313 | 10% | 344.3 | LF | 0.89 | 306.427 | 0.76 | 261.668 | 1.65 | 568.095
18 |  | 2" PVC SCH 40 | 40.769 | 10% | 44.8459 | LF | 1.11 | 49.7789 | 1.23 | 55.1605 | 2.34 | 104.9394
19 |  | 1" PVC SCH 40 | 253 | 10% | 278.3 | LF | 1.02 | 283.866 | 0.56 | 155.848 | 1.58 | 439.714
20 |  | 1.5" PVC SCH 40 | 15.066 | 10% | 16.5726 | LF | 1.15 | 19.0585 | 0.95 | 15.744 | 2.1 | 34.8025
21 |  | (2) 4" PVC SCH 40 | 486.015 | 10% | 534.6165 | LF | 2.21 | 1181.5025 | 2.47 | 1320.5028 | 4.68 | 2502.0052
22 |  | 4" PVC SCH 40 | 793.018 | 10% | 872.3198 | LF | 1.21 | 1055.507 | 1.13 | 985.7214 | 2.34 | 2041.2283
23 |  | (4) 4" PVC SCH 40 | 57.766 | 10% | 63.5426 | LF | 4.35 | 276.4103 | 5.01 | 318.3484 | 9.36 | 594.7587
24 |  | 0.75" PVC SCH 40/ P-RMC | 83.953 | 10% | 92.3483 | LF | 0.24 | 22.1636 | 0.7 | 64.6438 | 0.94 | 86.8074
25 |  | 0.75" EMT/ PVC SCH 40/ P-RMC | 235.787 | 10% | 259.3657 | LF | 0.54 | 140.0575 | 0.68 | 176.3687 | 1.22 | 316.4262
26 |  | 1" PVC SCH 40/ P-RMC | 1923 | 10% | 2115.3 | LF | 0.82 | 1734.546 | 0.87 | 1840.311 | 1.69 | 3574.857
27 |  | 2" RMC | 5.243 | 10% | 5.7673 | LF | 0.85 | 4.9022 | 0.47 | 2.7106 | 1.32 | 7.6128
28 |  | 0.75" RMC | 11 | 10% | 12.1 | LF | 0.23 | 2.783 | 0.45 | 5.445 | 0.68 | 8.228
29 |  | 2" P-RMC | 30 | 10% | 33 | LF | 0.85 | 28.05 | 0.98 | 32.34 | 1.83 | 60.39
30 |  | (3) 1.25" P-RMC | 140 | 10% | 154 | LF | 2.43 | 374.22 | 3.36 | 517.44 | 5.79 | 891.66
31 |  | 0.75" P-RMC | 237 | 10% | 260.7 | LF | 0.34 | 88.638 | 0.44 | 114.708 | 0.78 | 203.346
32 |  | 0.75" RMC | 80.747 | 10% | 88.8217 | LF | 0.34 | 30.1994 | 0.34 | 30.1994 | 0.68 | 60.3988
33 |  | 1.25" RMC | 64.774 | 10% | 71.2514 | LF | 0.65 | 46.3134 | 1.293 | 92.1281 | 1.943 | 138.4415
34 |  | 1" RMC | 10.288 | 10% | 11.3168 | LF | 0.82 | 9.2798 | 0.6 | 6.7901 | 1.42 | 16.0699
35 |  | P-RMC | 7.591 | 10% | 8.3501 | LF | 0.48 | 4.008 | 0.75 | 6.2626 | 1.23 | 10.2706
BOXES & FITTINGS
36 |  | J- BOX | 7 | 0% | 7 | EA | 220 | 1540 | 203.4 | 1423.8 | 423.4 | 2963.8
37 |  | J- BOXES MOUNTED ON PIPING VAULT WALL | 4 | 0% | 4 | EA | 220 | 880 | 239.4 | 957.6 | 459.4 | 1837.6
38 |  | COM J-BOX | 6 | 0% | 6 | EA | 220 | 1320 | 210.4 | 1262.4 | 430.4 | 2582.4
39 |  | J-BOX 280V | 3 | 0% | 3 | EA | 220 | 660 | 232.3 | 696.9 | 452.3 | 1356.9
40 |  | J-BOX 480V | 2 | 0% | 2 | EA | 220 | 440 | 232.3 | 464.6 | 452.3 | 904.6
41 |  | J-BOX FOR EMS CONTROL | 6 | 0% | 6 | EA | 220 | 1320 | 232.3 | 1393.8 | 452.3 | 2713.8
42 |  | LONG PULL BOXES 48" LONG X 8" X 8" | 2 | 0% | 2 | EA | 220 | 440 | 214.4 | 428.8 | 434.4 | 868.8
43 |  | PULL BOX 15A-HPB1, 48" X 16" | 1 | 0% | 1 | EA | 220 | 220 | 236 | 236 | 456 | 456
44 |  | RAIN DIVERTER VALVE J- BOX | 1 | 0% | 1 | EA | 220 | 220 | 169.5 | 169.5 | 389.5 | 389.5
45 |  | TELECOM BOX | 1 | 0% | 1 | EA | 220 | 220 | 200 | 200 | 420 | 420
46 |  | UNDERGROUND PULL BOX | 1 | 0% | 1 | EA | 220 | 220 | 239.3 | 239.3 | 459.3 | 459.3
47 |  | UNDERGROUND PULL BOX, 480 V | 1 | 0% | 1 | EA | 220 | 220 | 239.3 | 239.3 | 459.3 | 459.3
48 |  | ALLOWANCE FOR FITTINGS | 1 | 0% | 1 | LS |  |  |  |  | 3000 | 3000
WIRES & CABLES
49 |  | 3-500kcmil, PHASE CABLE | 695 | 10% | 764.5 | LF | 0.45 | 344.025 | 0.595 | 454.8775 | 1.045 | 798.9025
50 |  | 3-250kcmil, PHASE CABLE | 75.949 | 10% | 83.5439 | LF | 0.45 | 37.5948 | 0.517 | 43.1922 | 0.967 | 80.787
51 |  | (7) 3-500kcmil, PHASE CABLE | 128.941 | 10% | 141.8351 | LF | 3.34 | 473.7292 | 4.01 | 568.7588 | 7.35 | 1042.488
52 |  | (4) 3-500kcmil, PHASE CABLE | 57.766 | 10% | 63.5426 | LF | 1.34 | 85.1471 | 2.89 | 183.6381 | 4.23 | 268.7852
53 |  | 4-#1, PHASE CABLE | 142 | 10% | 156.2 | LF | 0.45 | 70.29 | 0.582 | 90.9084 | 1.032 | 161.1984
54 |  | 3-#1/0, PHASE CABLE | 46 | 10% | 50.6 | LF | 0.45 | 22.77 | 0.578 | 29.2468 | 1.028 | 52.0168
55 |  | 3-#2, PHASE CABLE | 342 | 10% | 376.2 | LF | 0.45 | 169.29 | 0.598 | 224.9676 | 1.048 | 394.2576
56 |  | 3-#2/0, PHASE CABLE | 10.95 | 10% | 12.045 | LF | 0.45 | 5.4203 | 0.593 | 7.1427 | 1.043 | 12.5629
57 |  | 3-#3/0, PHASE CABLE | 1081 | 10% | 1189.1 | LF | 0.45 | 535.095 | 0.5953 | 707.8712 | 1.0453 | 1242.9662
58 |  | 2-#3/0, PHASE CABLE | 19.305 | 10% | 21.2355 | LF | 0.45 | 9.556 | 0.592 | 12.5714 | 1.042 | 22.1274
59 |  | 3-#4, PHASE CABLE | 104 | 10% | 114.4 | LF | 0.45 | 51.48 | 0.596 | 68.1824 | 1.046 | 119.6624
60 |  | 1 #4/0 | 46 | 10% | 50.6 | LF | 0.45 | 22.77 | 0.573 | 28.9938 | 1.023 | 51.7638
61 |  | 3-#4/0, PHASE CABLE | 508 | 10% | 558.8 | LF | 0.45 | 251.46 | 0.596 | 333.0448 | 1.046 | 584.5048
62 |  | 6-#6, PHASE CABLE | 64.774 | 10% | 71.2514 | LF | 0.45 | 32.0631 | 0.642 | 45.7434 | 1.092 | 77.8065
63 |  | 3-#6, PHASE CABLE | 10.288 | 10% | 11.3168 | LF | 0.45 | 5.0926 | 0.617 | 6.9825 | 1.067 | 12.075
64 |  | 3-#8, PHASE CABLE | 481 | 10% | 529.1 | LF | 0.45 | 238.095 | 0.628 | 332.2748 | 1.078 | 570.3698
65 |  | 2-#8, PHASE CABLE | 2.297 | 10% | 2.5267 | LF | 0.45 | 1.137 | 0.595 | 1.5034 | 1.045 | 2.6404
66 |  | (12) 3-#10, PHASE CABLE | 68.664 | 10% | 75.5304 | LF | 4.35 | 328.5572 | 8.214 | 620.4067 | 12.564 | 948.9639
67 |  | (12) 3-#10, PHASE CABLE | 71.071 | 10% | 78.1781 | LF | 4.35 | 340.0747 | 8.436 | 659.5105 | 12.786 | 999.5852
68 |  | 6-#10, PHASE CABLE | 23.375 | 10% | 25.7125 | LF | 0.45 | 11.5706 | 0.628 | 16.1475 | 1.078 | 27.7181
69 |  | 3-#10, PHASE CABLE | 355 | 10% | 390.5 | LF | 0.45 | 175.725 | 0.606 | 236.643 | 1.056 | 412.368
70 |  | (2) 3-#10, PHASE CABLE | 75.362 | 10% | 82.8982 | LF | 1.21 | 100.3068 | 0.902 | 74.7742 | 2.112 | 175.081
71 |  | 2-#10, PHASE CABLE | 492 | 10% | 541.2 | LF | 0.45 | 243.54 | 0.618 | 334.4616 | 1.068 | 578.0016
72 |  | 3-#12, PHASE CABLE | 33.226 | 10% | 36.5486 | LF | 0.45 | 16.4469 | 0.6482 | 23.6908 | 1.0982 | 40.1377
73 |  | 8-#12, PHASE CABLE | 616 | 10% | 677.6 | LF | 0.45 | 304.92 | 0.674 | 456.7024 | 1.124 | 761.6224
74 |  | 2#12, PHASE CABLE | 587 | 10% | 645.7 | LF | 0.45 | 290.565 | 0.892 | 575.9644 | 1.342 | 866.5294
75 |  | 6-#12, PHASE CABLE | 283 | 10% | 311.3 | LF | 0.45 | 140.085 | 1.207 | 375.7391 | 1.657 | 515.8241
76 |  | 10-#12, PHASE CABLE | 199 | 10% | 218.9 | LF | 0.67 | 146.663 | 1.204 | 263.5556 | 1.874 | 410.2186
77 |  | 4-#12, PHASE CABLE | 583 | 10% | 641.3 | LF | 0.67 | 429.671 | 0.894 | 573.3222 | 1.564 | 1002.9932
GROUNDING WIRE
78 |  | 18" GROUNDING BAR | 1 | 0% | 1 | EA | 65.4 | 65.4 | 91 | 91 | 156.4 | 156.4
79 |  | #2 GROUND | 1479.176 | 10% | 1627.0936 | LF | 0.54 | 878.6305 | 0.834 | 1356.9961 | 1.374 | 2235.6266
80 |  | (4) #4/0 GROUND | 57.766 | 10% | 63.5426 | LF | 2.34 | 148.6897 | 3.849 | 244.5755 | 6.189 | 393.2652
81 |  | #4 GROUND | 286.15 | 10% | 314.765 | LF | 0.87 | 273.8456 | 0.786 | 247.4053 | 1.656 | 521.2508
82 |  | #6 GROUND | 719.738 | 10% | 791.7118 | LF | 0.87 | 688.7893 | 1.023 | 809.9212 | 1.893 | 1498.7104
83 |  | #8 GROUND | 80.747 | 10% | 88.8217 | LF | 0.87 | 77.2749 | 1.127 | 100.1021 | 1.997 | 177.3769
84 |  | (3) #10 GROUND | 139.735 | 10% | 153.7085 | LF | 3.2 | 491.8672 | 3.145 | 483.4132 | 6.345 | 975.2804
85 |  | #10 GROUND | 1350 | 10% | 1485 | LF | 1.12 | 1663.2 | 1.014 | 1505.79 | 2.134 | 3168.99
86 |  | #12 GROUND | 1879.132 | 10% | 2067.0452 | LF | 1.12 | 2315.0906 | 1.045 | 2160.0622 | 2.165 | 4475.1529
87 |  | #12 GROUND | 124.251 | 10% | 136.6761 | LF | 1.12 | 153.0772 | 1.045 | 142.8265 | 2.165 | 295.9038
88 |  | (7) 500kcmil GROUND | 128.941 | 10% | 141.8351 | LF | 4.32 | 612.7276 | 2.995 | 424.7961 | 7.315 | 1037.5238
LIGHT FIXTURES & LAMPS
89 |  | HIGH BAY CEILING LED, Mfg.: LITHONIA, CATALOG #: JCBL 15000LM DALR ALDPR 120 GZ10 40K 80CRI PM | 10 | 0% | 10 | EA | 215.2 | 2152 | 214.8 | 2148 | 430 | 4300
90 |  | HIGH BAY CEILING LED W/ BATTERY BACKUP, Mfg.: LITHONIA, CATALOG #: JCBL 15000LM DALR ALDPR 120 GZ10 40K 80CRI PM PS750DL T20C | 3 | 0% | 3 | EA | 215.2 | 645.6 | 221.3 | 663.9 | 436.5 | 1309.5
91 |  | 2 X 4 RECESSED CEILING LED, Mfg.: LITHONIA, CATALOG #: 2BLT4 60L ADP EZ1 LP850 | 2 | 0% | 2 | EA | 215.2 | 430.4 | 181.3 | 362.6 | 396.5 | 793
92 |  | WALL PACK W/ HIGH OUTPUT LED, Mfg.: LITHONIA, CATALOG #: TWR1LED LED P4 50K MVOLT DDBTXD | 23 | 0% | 23 | EA | 215.2 | 4949.6 | 212.2 | 4880.6 | 427.4 | 9830.2
93 |  | SURFACE MOUNT EDGE LIT EXIT SIGN W/ LED LAMP, Mfg.: LITHONIA, CATALOG #: EDG 1 G ELSD | 2 | 0% | 2 | EA | 215.2 | 430.4 | 324 | 648 | 539.2 | 1078.4
94 |  | CEILING LED, Mfg.: LITHONIA, CATALOG #: VAP 6000LM FST WD MVOLT GZ10 40K 80CRI | 3 | 0% | 3 | EA | 215.2 | 645.6 | 281.1 | 843.3 | 496.3 | 1488.9
LIGHTING FIXTURE CONTROL & ACCESSORIES
95 |  | FIXTURE MOUNT OCCUPANCY/ DAYLIGHT SENSOR, Mfg.: ACUITY CONTROLS, CATALOG #: LSXR 610 ADC | 13 | 0% | 13 | EA | 165.6 | 2152.8 | 174.4 | 2267.2 | 340 | 4420
96 |  | FIXTURE MOUNT OCCUPANCY/ DAYLIGHT SENSOR, Mfg.: ACUITY CONTROLS, CATALOG #: SBOR 10 OEX D P BZ | 23 | 0% | 23 | EA | 165.6 | 3808.8 | 163.8 | 3767.4 | 329.4 | 7576.2
97 |  | WALL SWITCH OCCUPANCY SENSOR W/ DIMMING, Mfg.: SENSOR SWITCH, CATALOG #: WSX PDT D WH | 1 | 0% | 1 | EA | 165.6 | 165.6 | 163.8 | 163.8 | 329.4 | 329.4
98 |  | THE PUSH BUTTON DIMMING SWITCHPOD SERIES, Mfg.: SENSOR SWITCH, CATALOG #: SPODMRD WH | 6 | 0% | 6 | EA | 165.6 | 993.6 | 154.4 | 926.4 | 320 | 1920
99 |  | 36" STEAM HANGER , Mfg.: LITHONIA LIGHTING, CATALOG #: SQ36 | 13 | 0% | 13 | EA | 165.6 | 2152.8 | 153.6 | 1996.8 | 319.2 | 4149.6
100 |  | SAFETY CABLE 120", Mfg.: LITHONIA LIGHTING, CATALOG #: JCBLSC120 | 13 | 0% | 13 | EA | 165.6 | 2152.8 | 174.8 | 2272.4 | 340.4 | 4425.2
101 |  | Dual 48" tube, 32W Fluorescent Light Fixture | 22 | 0% | 22 | EA | 165.6 | 3643.2 | 174.8 | 3845.6 | 340.4 | 7488.8
102 |  | Lighting Mast | 6 | 0% | 6 | EA | 165.6 | 993.6 | 174.8 | 1048.8 | 340.4 | 2042.4
103 |  | Lightning Arrester | 34 | 0% | 34 | EA | 165.6 | 5630.4 | 174.8 | 5943.2 | 340.4 | 11573.6
POWER VALUT
104 |  | 5" DIA TERMINATORS SCH 40 | 6 | 0% | 6 | EA | 27.6 | 165.6 | 58.9 | 353.4 | 86.5 | 519
105 |  | 7/8" DIA. X 4-1/2" GALV. PULL IRON | 2 | 0% | 2 | EA | 54.3 | 108.6 | 69.57 | 139.14 | 123.87 | 247.74
106 |  | 1/2" THREADED BRONZE ROD | 3 | 0% | 3 | EA | 18.7 | 56.1 | 38 | 114 | 56.7 | 170.1
107 |  | 1" DIA BLIND GROUND ROD HOLE | 4 | 0% | 4 | EA | 34.5 | 138 | 53.1 | 212.4 | 87.6 | 350.4
MISC.
108 |  | CT-1 FAN VFD | 1 | 0% | 1 | EA | 134.5 | 134.5 | 142 | 142 | 276.5 | 276.5
109 |  | CT-2 FAN VFD | 1 | 0% | 1 | EA | 134.5 | 134.5 | 142 | 142 | 276.5 | 276.5
110 |  | CT-3 VFD | 1 | 0% | 1 | EA | 134.5 | 134.5 | 123.8 | 123.8 | 258.3 | 258.3
111 |  | CT-4 VFD | 1 | 0% | 1 | EA | 134.5 | 134.5 | 123.8 | 123.8 | 258.3 | 258.3
112 |  | NEW VFD | 3 | 0% | 3 | EA | 134.5 | 403.5 | 123.8 | 371.4 | 258.3 | 774.9
113 |  | CWP-3, 4 VFD | 2 | 0% | 2 | EA | 134.5 | 269 | 163.8 | 327.6 | 298.3 | 596.6
114 |  | GROUND FAULT RECEPTACLE | 3 | 0% | 3 | EA | 134.5 | 403.5 | 151.8 | 455.4 | 286.3 | 858.9
115 |  | DISCONNECT, 30A | 4 | 0% | 4 | EA | 324.3 | 1297.2 | 462.4 | 1849.6 | 786.7 | 3146.8
116 |  | DUPLEX RECEPTACLE | 10 | 0% | 10 | EA | 134.5 | 1345 | 132.8 | 1328 | 267.3 | 2673
117 |  | WP & GFI RECEPTACLE | 2 | 0% | 2 | EA | 134.5 | 269 | 132.8 | 265.6 | 267.3 | 534.6
118 |  | UNDERGROUND OUTLET TO OUTLET | 163.486 | 10% | 179.8346 | LF | 0.43 | 77.3289 | 0.94 | 169.0445 | 1.37 | 246.3734
119 |  | CHEMICAL ANALYZER PANEL | 1 | 0% | 1 | EA | 1230 | 1230 | 1640.5 | 1640.5 | 2870.5 | 2870.5
SELECTIVE REMOVAL
120 |  | REMOVE EXISTING 3-350KCMIL CABLES AND 1-#6 GROUND WIRE | 44.043 | 10% | 48.4473 | LF | 0.45 | 21.8013 | 1.117 | 54.1156 | 1.567 | 75.9169
121 |  | REMOVE EXISTING 5KV, 6-1/0 CABLES AND 2-4" CONDUIT | 160.15 | 10% | 176.165 | LF | 0.45 | 79.2743 | 1.117 | 196.7763 | 1.567 | 276.0506
122 |  | REMOVE CABLES FROM UNDERGROUND CONDUITS | 123.133 | 10% | 135.4463 | LF | 0.45 | 60.9508 | 1.117 | 151.2935 | 1.567 | 212.2444
123 |  | REMOVE EXISTING POER CABLES FROM LIGHTS AND RECEPTACLES | 115.507 | 10% | 127.0577 | LF | 0.45 | 57.176 | 1.117 | 141.9235 | 1.567 | 199.0994
124 |  | REMOVE EXISTING CABLES AND PULL BACK THROUGH PANELS, INSTALL NEW PULL BOX | 34.34 | 10% | 37.774 | LF | 22.34 | 843.8712 | 32.16 | 1214.8118 | 54.5 | 2058.683
PANELS
125 |  | 23D-MSB-1, TOTAL LOAD AMPS: 1764 | 1 | 0% | 1 | EA | 980 | 980 | 1376.4 | 1376.4 | 2356.4 | 2356.4
126 |  | 23D-MSB-2, TOTAL LOAD AMPS: 1764 | 1 | 0% | 1 | EA | 980 | 980 | 1376.4 | 1376.4 | 2356.4 | 2356.4
127 |  | 23D-LPB-1, 33/42, TOTAL CONNECTED LOAD: 24,691 VA | 1 | 0% | 1 | EA | 980 | 980 | 1900 | 1900 | 2880 | 2880
128 |  | 23D-HPB-1, TOTAL CONNECTED LOAD: 47,700 VA | 1 | 0% | 1 | EA | 1324 | 1324 | 2346 | 2346 | 3670 | 3670
129 |  | 23CD-LPB-1, TOTAL CONNECTED LOAD: 11,311 VA | 1 | 0% | 1 | EA | 980 | 980 | 1230.45 | 1230.45 | 2210.45 | 2210.45
130 |  | 23D-LPB-2, TOTAL CONNECTED LOAD: 2400 VA | 1 | 0% | 1 | EA | 980 | 980 | 360 | 360 | 1340 | 1340
FIRE ALARM
131 |  | NOTIFIER ADDRESSIBLE TEMPERATURE SENSOR | 5 | 0% | 5 | EA | 185.6 | 928 | 154.4 | 772 | 340 | 1700
132 |  | NOTIFIER ADDRESSIBLE DEVICE HORN AND STROBE | 4 | 0% | 4 | EA | 185.6 | 742.4 | 168.9 | 675.6 | 354.5 | 1418
133 |  | NOTIFIER ADDRESSIBLE PULL STATION | 2 | 0% | 2 | EA | 125.5 | 251 | 160.1 | 320.2 | 285.6 | 571.2
134 |  | FIRE ALARM CONTROL PANEL, NOTIFIER NFS-320 | 1 | 0% | 1 | EA | 1240.2 | 1240.2 | 2100.3 | 2100.3 | 3340.5 | 3340.5
135 |  | DRY POWDER FIRE EXTINGUISHER FOR CLASS A, B AND C | 2 | 0% | 2 | EA | 89.5 | 179 | 140.5 | 281 | 230 | 460
SUB TOTAL | [7 empty] | 78349.5076 |  | 89472.4068 |  |  | 170821.9143
OVERHEAD |  |  | 9% | [9 empty] | 15373.9723
PROFIT |  |  | 8% | [9 empty] | 13665.7531
INSURANCE |  |  | 5% | [9 empty] | 8541.0957
CONTINGENCY |  |  | 3% | [9 empty] | 5124.6574
TOTAL BID | [12 empty] | 213527.3929
NOTE:
1 | OUR PRICES ARE STANDARD WITH PROJECT ZIP CODE, BUT YOU CAN PUT YOUR OWN.
2 | WE'VE TAKEN STANDARD ASSUMPTION WHERE DETAILS WERE INSUFFICIENT

## Sheet2 (hidden)
DP01 DEMO (E) STAIR AND LANDING, PATCH AND REPAIRE ADJACENT WALL. | DEMOLITION
DP02 DEMO (E) WALL, PATCH AND REPAIR ADJACENT AREA.
DP03 DEMO (E) WALL FOR NEW DOOR/ GATE OPENING.
DP04 DEMO (E) WALL ABOVE (N) ADA PARKING STALL AREA TO RECEIVE (N) SLAB, PATCH AND REPAIR ADJACENT AREA.
DP05 DEMO (E) CHAINLINK FENCE.
DP06 DEMO (E) FLOOR SLAB FOR NEW PLUMBING TRENCH AND PIPES, PATCH AND REPAIR ADJACENT AREA.
DP07 DEMO (E) DOOR, INFILL OPENING, PATCH AND REPAIRE ADJACENT WALL.
DP08 DEMO (E) FLOOR SLAB.
DP09 DEMO (E) ABOVE AND BELOW GRADE STRUCTURE AND FOUNDATION ON SITE, SEE GENERAL NOTES FOR DETAILS.
DP11 REMOVER (E) PARKING STRIP FOR RE-STRIPING.
DP22 DEMO (E) PLASTER FENCE WALL AND GATE AT (E) TRANSFORMER.
DP23 DEMO (E) TRANSFORER PAD AND FLOOR SLAB; SEE ELEC. AND ST.DWGS.
DP24 DEMO (E) WOOD FENCE, TYP.
DP25 DEMO (E) EXISTING CURB CUT, GUTTER AND AC PAVER. SEE CIVIL DWGS.
DP26 (E) CMU WALL TO REMAIN. REMOVE (E) WOOD FENCE (WHERE OCCURS) AND PREPARE FOR EXTENSION OF (E) CMU WALL.
SP02 REMOVE EXISTING CURB CUT, PATCH AND REPAIR TO MATCH ADJACENT.
EL01 CUSTOM DECORATIVE STEEL SCREEN PANELS W/ VARYING DENSITY PATTERN, PAINTED FINISH - COLOR TBD, SEE SHEET A9.4 FOR MORE INFO. | EXTERIOR FINISHES
EL02 WHITE CORRUGATED METAL RAIN SCREEN, KYNAR FINISH, PERFORATION/PATTERN TBD, SEE SHEET A9.5 FOR MORE INFO.
EL03 VERTICAL STANDING SEAM METAL PANEL SYSTEM RHEINZINK OR PAINTED FACTORY FINISH - COLOR TBD
EL04 WINDOW WITH DECORATIVE METAL PANEL W/ FACTORY FINISH, CONTRASTING COLOR TBD
EL06 WINDOW SYSTEM W/ FACTORY APPLIED KYNAR FINISH, COLOR T.B.D. SEE SHEET A9.3 FOR MORE INFO.
EL07 MECH. LOUVER INTERGRATED WITH (CURTAIN WALL) WINDOW SYSTEM W/ FACTORY APPLIED KYNAR FINISHE, COLOR TO MATCH WINODW FRAME.
EL08 CANOPY WITIH METAL CLADDING PANEL WITH FACTORY APPLIED FINISH, COLOR: T.B.D. WITH INTERGRATED LIGHTING FIXTURES.
EL09 CONCRETE PARAPET WALL WITH INTERGRATED LIGHTING FIXTURES WHERE OCCURS, SEE ELEC. DRAWING FOR MORE INFO.
EL10 GREEN ROOF/ PLANTER, DRAINAGE AND IRRIGATION SYSTEM RAISED OVER WATERPROOFED CAST IN PLACE CONCRETE SLAB
EL15 PAINTED HOLLOW METAL DOOR, COLOR: T.B.D. SEE SHEET A9.1 FOR MORE INFO.
EL16 GREEN WALL/PUBLIC ART PROJECT
EL17 CUSTOM DECORATIVE STEEL SCREEN PANELS, PAINTED FINISH - COLOR TBD
EL18 ELEVATOR DOORS STAINLESS STEEL ELEVATOR DOORS AND FRAMES
EL19 CAST IN PLACE CONCRETE STAIRS
EL26 GREEN WALL WITH IRRIGATION SYSTEM AND SUBFRAME SYSTEM
EL27 MECH. LOUVER W/ FACTORY APPLIED KYNAR FINISHE, COLOR: T.B.D.SEE A9.3 & MECH. DRAWING FOR MORE INFO.
EL31 OUTDOOR SEATING AREA WITH DECORATIVE METAL RAIL (FINISH: T.B.D.) AND PLANTER.
EL32 SOUTH ALLEY CONTROL GATE WITH PANIC HARDWARE AND CLOSER.
EL34 ACCESS PANEL.
EL35 BACK LIT METAL BUILDING SIGNAGE.
EP02 DECORATIVE ALUMINUM SCREEN WALL WITH FACTORY APPLIED FINISH. COLOR: T.B.D. SEE A9.4 FOR PAN EL SCHEDULE | MISC
EP06 COMBINATION PIPE GUARDRAIL WITH 36" HIGH HANDRAIL. END OF HANDRAIL EXTENSIONRETURN TO GUARD
EP07 GLASS GUARDRAIL
EP09 36" HIGH PIPE HANDRAIL, WALLMOUNTED