## DETAILED ESTIMATE
Nexa Estimating, LLC | [5 empty] | Project:
Address:
5900 Balcones Drive # 14421 St 100 Austin, TX, 78731
Date:
SR # | CSI SECT | DESCRIPTION | QUANTITY | WASTAGE (10%) | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
| DIV. 21 | MECHANICAL | [6 empty] | 1385820.43
HVAC Supply Ducts
1 |  | 3/4" Condensate Pipe | 144 | 10% | 158.4 | lf | 12.8 | 2027.52
2 |  | 1" Condensate Pipe | 28 | 10% | 30.8 | lf | 13.5 | 415.8
3 |  | 10" Dia | 99 | 10% | 108.9 | lf | 8 | 871.2
4 |  | 10x10 | 140 | 10% | 154 | lf | 9 | 1386
5 |  | 10x12 | 250 | 10% | 275 | lf | 9.8 | 2695
6 |  | 10x4 | 120 | 10% | 132 | lf | 7.8 | 1029.6
7 |  | 10x6 | 110 | 10% | 121 | lf | 8.2 | 992.2
8 |  | 10x8 | 187 | 10% | 205.7 | lf | 8.6 | 1769.02
9 |  | 12x10 | 145 | 10% | 159.5 | lf | 9.8 | 1563.1
10 |  | 12x12 | 215 | 10% | 236.5 | lf | 10.2 | 2412.3
11 |  | 12x14 | 180 | 10% | 198 | lf | 10.4 | 2059.2
12 |  | 12x4 | 120 | 10% | 132 | lf | 7.8 | 1029.6
13 |  | 12x6 | 174 | 10% | 191.4 | lf | 8 | 1531.2
14 |  | 12x8 | 270 | 10% | 297 | lf | 8.4 | 2494.8
15 |  | 14x10 | 93 | 10% | 102.3 | lf | 9.6 | 982.08
16 |  | 14x12 | 136 | 10% | 149.6 | lf | 10.4 | 1555.84
17 |  | 14x14 | 291 | 10% | 320.1 | lf | 11 | 3521.1
18 |  | 14x22 | 150 | 10% | 165 | lf | 11.6 | 1914
19 |  | 14x24 | 150 | 10% | 165 | lf | 12 | 1980
20 |  | 14x8 | 140 | 10% | 154 | lf | 9.2 | 1416.8
21 |  | 16x10 | 59 | 10% | 64.9 | lf | 10.2 | 661.98
22 |  | 16x12 | 152 | 10% | 167.2 | lf | 10.4 | 1738.88
23 |  | 16x14 | 200 | 10% | 220 | lf | 10.6 | 2332
24 |  | 16x16 | 137 | 10% | 150.7 | lf | 10.8 | 1627.56
25 |  | 16x18 | 154 | 10% | 169.4 | lf | 11 | 1863.4
26 |  | 16x20 | 120 | 10% | 132 | lf | 11.2 | 1478.4
27 |  | 16x24 | 110 | 10% | 121 | lf | 11.6 | 1403.6
28 |  | 16x26 | 110 | 10% | 121 | lf | 11.8 | 1427.8
29 |  | 16x8 | 106 | 10% | 116.6 | lf | 9.6 | 1119.36
30 |  | 18x10 | 150 | 10% | 165 | lf | 10.4 | 1716
31 |  | 18x12 | 140 | 10% | 154 | lf | 10.6 | 1632.4
32 |  | 18x14 | 49 | 10% | 53.9 | lf | 10.8 | 582.12
33 |  | 20x10 | 148 | 10% | 162.8 | lf | 11 | 1790.8
34 |  | 20x12 | 139 | 10% | 152.9 | lf | 11.4 | 1743.06
35 |  | 20x14 | 84 | 10% | 92.4 | lf | 11.6 | 1071.84
36 |  | 20x20 | 84 | 10% | 92.4 | lf | 12.8 | 1182.72
37 |  | 22x12 | 24 | 10% | 26.4 | lf | 11 | 290.4
38 |  | 22x14 | 225 | 10% | 247.5 | lf | 11.2 | 2772
39 |  | 24x12 | 46 | 10% | 50.6 | lf | 11.2 | 566.72
40 |  | 24x14 | 27 | 10% | 29.7 | lf | 11.6 | 344.52
41 |  | 24x16 | 270 | 10% | 297 | lf | 11.8 | 3504.6
42 |  | 24x18 | 12 | 10% | 13.2 | lf | 12 | 158.4
43 |  | 24x20 | 550 | 10% | 605 | lf | 12.2 | 7381
44 |  | 24x22 | 60 | 10% | 66 | lf | 12.4 | 818.4
45 |  | 24x26 | 10 | 10% | 11 | lf | 12.6 | 138.6
46 |  | 26x12 | 120 | 10% | 132 | lf | 11.4 | 1504.8
47 |  | 26x14 | 45 | 10% | 49.5 | lf | 11.6 | 574.2
48 |  | 26x16 | 190 | 10% | 209 | lf | 11.8 | 2466.2
49 |  | 26x20 | 130 | 10% | 143 | lf | 12.2 | 1744.6
50 |  | 30x14 | 450 | 10% | 495 | lf | 12.8 | 6336
51 |  | 30x18 | 25 | 10% | 27.5 | lf | 13 | 357.5
52 |  | 30x20 | 141 | 10% | 155.1 | lf | 13.6 | 2109.36
53 |  | 34x12 | 45 | 10% | 49.5 | lf | 12.6 | 623.7
54 |  | 34x14 | 10 | 10% | 11 | lf | 12.8 | 140.8
55 |  | 34x16 | 9 | 10% | 9.9 | lf | 13 | 128.7
56 |  | 34x24 | 12 | 10% | 13.2 | lf | 13.8 | 182.16
57 |  | 34x26 | 20 | 10% | 22 | lf | 14 | 308
58 |  | 36x24 | 12 | 10% | 13.2 | lf | 15.4 | 203.28
59 |  | 40x34 | 24 | 10% | 26.4 | lf | 17.2 | 454.08
60 |  | 46x18 | 26 | 10% | 28.6 | lf | 18.4 | 526.24
61 |  | 6" Dia | 120 | 10% | 132 | lf | 5.5 | 726
62 |  | 6x6 | 165 | 10% | 181.5 | lf | 7.4 | 1343.1
63 |  | 6x8 | 200 | 10% | 220 | lf | 7.6 | 1672
64 |  | 8" Dia | 135 | 10% | 148.5 | lf | 7.3 | 1084.05
65 |  | 8x4 | 28 | 10% | 30.8 | lf | 7.4 | 227.92
66 |  | 8x6 | 145 | 10% | 159.5 | lf | 7.8 | 1244.1
67 |  | 8x8 | 230 | 10% | 253 | lf | 8.2 | 2074.6
68 |  | CHW Piping 8" CSP S40 | 80 | 10% | 88 | LF | 50.8 | 4470.4
69 |  | CHW Piping 6" CSP S40 | 320 | 10% | 352 | LF | 39.1 | 13763.2
70 |  | CHW Piping 4" CSP S40 | 745 | 10% | 819.5 | LF | 31.96 | 26191.22
71 |  | 8" CS BW S40 Tee | 12 | 0% | 12 | EA | 339 | 4068
72 |  | 8" CS BW S40 C. Red x 6" | 6 | 0% | 6 | EA | 174.9 | 1049.4
73 |  | 8" CS WN 150LB Flange | 8 | 0% | 8 | EA | 176.9 | 1415.2
74 |  | 6" CS WN 150LB Flange | 16 | 0% | 16 | EA | 114.7 | 1835.2
75 |  | 5" CS WN 150LB Flange | 10 | 0% | 10 | EA | 176.9 | 1769
76 |  | 4" CS WN 150LB Flange | 12 | 0% | 12 | EA | 71.3 | 855.6
77 |  | 6" CS BW S40 Tee | 4 | 0% | 4 | EA | 235.1 | 940.4
78 |  | 6" CS BW S40 C. Red x 5" | 4 | 0% | 4 | EA | 132.7 | 530.8
79 |  | 6" CS BW S40 C. Red x 4" | 4 | 0% | 4 | EA | 132.7 | 530.8
80 |  | 4" CS BW S40 Tee | 4 | 0% | 4 | EA | 139.7 | 558.8
81 |  | 8" CS BW S40 90 | 16 | 0% | 16 | EA | 230.4 | 3686.4
82 |  | 6" CS BW S40 90 | 4 | 0% | 4 | EA | 152.8 | 611.2
83 |  | 5" CS BW S40 90 | 2 | 0% | 2 | EA | 152.8 | 305.6
84 |  | 4" CS BW S40 90 | 8 | 0% | 8 | EA | 87.9 | 703.2
85 |  | 6" Flanged Strainer | 4 | 0% | 4 | EA | 589.9 | 2359.6
86 |  | 6" Flanged Check Valve | 8 | 0% | 8 | EA | 569.9 | 4559.2
87 |  | 6" Flanged Butterfly Valve | 8 | 0% | 8 | EA | 353.9 | 2831.2
88 |  | 6" Flanged Suction Diffuser | 6 | 0% | 6 | EA | 885 | 5310
89 |  | 6" Flanged SS Flexible Connector | 8 | 0% | 8 | EA | 399 | 3192
90 |  | 5" Flanged Suction Diffuser | 2 | 0% | 2 | EA | 885 | 1770
91 |  | 5" Flanged SS Flexible Connector | 2 | 0% | 2 | EA | 399 | 798
92 |  | 4" Flanged SS Flexible Connector | 6 | 0% | 6 | EA | 224.5 | 1347
93 |  | SS Exhaust Ductwork | 4,460 | 10% | 4906 | SF | 20.2 | 99101.2
Electric Heaters
94 |  | Qmark CWH1101DSAF 1kW | 1 | 0% | 1 | ea | 800 | 800
95 |  | Qmark FFCB030 6kW | 1 | 0% | 1 | ea | 3500 | 3500
Split AC Systems
96 |  | Mitsubishi PLA-A12BA6 12 MBH Cooling | 4 | 0% | 4 | ea | 2300 | 9200
97 |  | Mitsubishi PLA-A24BA6 24 MBH Cooling 16 MBH Heating | 1 | 0% | 1 | ea | 2500 | 2500
98 |  | Mitsubishi PLA-A18BA6 18 MBH Cooling 13 MBH Heating | 1 | 0% | 1 | ea | 2400 | 2400
99 |  | Mitsubishi PUY-A12NHA6 12 MBH 14 SEER | 4 | 0% | 4 | ea | 2550 | 10200
100 |  | Mitsubishi PUZ-A24NHA6 24 MBH 14 SEER | 1 | 0% | 1 | ea | 3350 | 3350
101 |  | Mitsubishi PUZ-A18NHA6 18 MBH 14.2 SEER | 1 | 0% | 1 | ea | 2950 | 2950
102 |  | AHU 1-09, 60,000 CFM, 50HP, 1750 RPM, 480V, 3PH | 1 | 0% | 1 | EA | 65000 | 65000
103 |  | AHU 2-09, 60,000 CFM, 50HP, 1750 RPM, 480V, 3PH | 1 | 0% | 1 | EA | 65000 | 65000
104 |  | AHU 3-09, 60,000 CFM, 50HP, 1750 RPM, 480V, 3PH | 1 | 0% | 1 | EA | 65000 | 65000
105 |  | AHU 4-09, 60,000 CFM, 50HP, 1750 RPM, 480V, 3PH | 1 | 0% | 1 | EA | 65000 | 65000
106 |  | AHU 5-09, 6,700 CFM, 7.5HP, 1750 RPM, 480V, 3PH | 1 | 0% | 1 | EA | 10000 | 10000
107 |  | AHU 6-09, 3,500 CFM, 5.0HP, 1750 RPM, 480V, 3PH | 1 | 0% | 1 | EA | 6000 | 6000
108 |  | AHU 7-09, 6,000 CFM, 15.0HP, 1750 RPM, 480V, 3PH | 1 | 0% | 1 | EA | 10000 | 10000
109 |  | AHU 8-09, 3,500 CFM, 5.0HP, 1750 RPM, 480V, 3PH | 1 | 0% | 1 | EA | 6000 | 6000
110 |  | AHU 9-09, 9,000 CFM, 7.5HP, 1750 RPM, 480V, 3PH | 1 | 0% | 1 | EA | 15000 | 15000
111 |  | AHU 10-09, 16,000 CFM, 15.0HP, 1750 RPM, 480V, 3PH | 2 | 0% | 2 | EA | 22000 | 44000
112 |  | ERU-1 Energy Rec. Unit, 14,950 CFM, 1750 RPM, 15.0HP | 1 | 0% | 1 | EA | 20000 | 20000
113 |  | Cooling Tower CT-1 | 1 | 0% | 1 | EA | 36000 | 36000
HEAT PUMPING UNITS
114 |  | Pump PCWP B&G 1510-5E, 800 GPM, 1750 RPM, 30HP | 2 | 0% | 2 | EA | 7500 | 15000
115 |  | Pump PCWP B&G 1510-4E, 700 GPM, 1750 RPM, 20HP | 2 | 0% | 2 | EA | 7500 | 15000
116 |  | Pump SCWP B&G 1510-5E, 1,000 GPM, 1750 RPM, 25HP | 2 | 0% | 2 | EA | 10000 | 20000
117 |  | Pump SCWP B&G 1510-5E, 1,200 GPM, 1750 RPM, 30HP | 2 | 0% | 2 | EA | 11500 | 23000
118 |  | Pump HWP B&G 1510-3E, 300 GPM, 1750 RPM, 15HP | 4 | 0% | 4 | EA | 6000 | 24000
119 |  | CWP B&G 1510-5E, 1200 GPM, 1750 RPM, 25HP | 2 | 0% | 2 | EA | 11400 | 22800
120 |  | 15HP VFD @ Pumps | 4 | 0% | 4 | EA | 3200 | 12800
121 |  | 20HP VFD @ Pumps | 2 | 0% | 2 | EA | 4300 | 8600
122 |  | 25HP VFD @ Pumps | 4 | 0% | 4 | EA | 5150 | 20600
123 |  | 30HP VFD @ Pumps | 4 | 0% | 4 | EA | 6000 | 24000
BOILER
124 |  | Boiler, AERCO BMK 3,000,000 BTUH, 300 GPM | 2 | 0% | 2 | EA | 24500 | 49000
125 |  | Exp. Tank B4G D-120, 68 Gallon | 5 | 0% | 5 | EA | 438.5 | 2192.5
126 |  | Exp. Tank B4G D-60, 33 Gallon | 2 | 0% | 2 | EA | 290.5 | 581
Infrared Heaters
127 |  | Infratech W-40 4kW | 6 | 0% | 6 | ea | 950 | 5700
128 |  | Infratech W-25 2.5kW | 3 | 0% | 3 | ea | 850 | 2550
129 |  | Infrared Heater Controller and Relay Panel | 1 | 0% | 1 | ea | 1200 | 1200
Rooftop Units (Gas/Electric)
130 |  | Carrier 48HCEE20 17.5 Tons | 1 | 0% | 1 | ea | 17000 | 17000
131 |  | Carrier 48HCFE24 20 Tons | 3 | 0% | 3 | ea | 20500 | 61500
132 |  | Carrier 48HCFE14 12.5 Tons | 3 | 0% | 3 | ea | 13000 | 39000
133 |  | Carrier 48A2G030 30 Tons | 2 | 0% | 2 | ea | 25500 | 51000
134 |  | Carrier 48HCDE11 10 Tons | 2 | 0% | 2 | ea | 9000 | 18000
135 |  | Carrier 48HCDB04 3 Tons | 2 | 0% | 2 | ea | 3700 | 7400
136 |  | Carrier 48HCDB05 4 Tons | 1 | 0% | 1 | ea | 4200 | 4200
137 |  | Carrier 48HCFE08 7.5 Tons | 1 | 0% | 1 | ea | 5700 | 5700
Sound Attenuator Devices
138 |  | Price ERM44/1C | 1 | 0% | 1 | ea | 514 | 514
139 |  | Price ERM44/1D | 3 | 0% | 3 | ea | 514 | 1542
140 |  | Price ERM40/6B | 1 | 0% | 1 | ea | 416 | 416
141 |  | Price ERM49/6B | 2 | 0% | 2 | ea | 533 | 1066
142 |  | Price ERM41/WB | 2 | 0% | 2 | ea | 416 | 832
Linear Air Slot Diffusers
143 |  | Price SDS-100 | 20 | 0% | 20 | ea | 363 | 7260
144 |  | Price SDS-50 | 1 | 0% | 1 | ea | 263 | 263
145 |  | Price JSP | 1 | 0% | 1 | ea | 110 | 110
146 |  | Price JS | 1 | 0% | 1 | ea | 110 | 110
Air Devices
147 |  | Price SCD Cone | 2 | 0% | 2 | ea | 70 | 140
148 |  | Price ASCD Cone | 1 | 0% | 1 | ea | 80 | 80
149 |  | Price SPD Plaque | 6 | 0% | 6 | ea | 60 | 360
150 |  | Price 520D Grille | 3 | 0% | 3 | ea | 55 | 165
151 |  | Price 535 Grille | 10 | 0% | 10 | ea | 65 | 650
152 |  | Air Separator B&G R-6, 6" | 2 | 0% | 2 | EA | 1670 | 3340
153 |  | Air Separator B&G R-8, 8" | 2 | 0% | 2 | EA | 2100 | 4200
Air Curtains
154 |  | Mars STD2144-3EHS-0B 36kW 1/2 HP | 3 | 0% | 3 | ea | 6260 | 18780
155 |  | Mars STD284-2EHN-0B 24kW 1/2 HP | 1 | 0% | 1 | ea | 4981 | 4981
Louvers
156 |  | Greenheck EDF-401 36x12 in 660 cfm | 1 | 0% | 1 | ea | 350 | 350
157 |  | Greenheck EDF-401 36x60 in 300 cfm | 1 | 0% | 1 | ea | 500 | 500
Exhaust Fans
158 |  | Greenheck CW-095-VG Sidewall Mount 600 cfm 1/6 HP | 1 | 0% | 1 | ea | 1000 | 1000
159 |  | Greenheck SQ-99-VG Inline Type 660 cfm 1/4 HP | 1 | 0% | 1 | ea | 900 | 900
160 |  | Greenheck G-98-VG Roof Mount 490 cfm 1/4 HP | 1 | 0% | 1 | ea | 750 | 750
161 |  | Greenheck G-123-VG Roof Mount 1100 cfm 1/2 HP | 1 | 0% | 1 | ea | 1300 | 1300
162 |  | Greenheck SP-B110 Ceiling Mount 95 cfm 80W | 3 | 0% | 3 | ea | 340 | 1020
Elevators
163 |  | Shadowbrook Elevator E1, model HydroFit Hospital 5000# @ 100 FPM | 1 | 0% | 1 | ea | 10500 | 10500
164 |  | Shadowbrook Elevator E2, model HydroFit Hospital 5000# @ 100 FPM | 1 | 0% | 1 | ea | 10500 | 10500
165 |  | Shadowbrook Elevator E3, model HydroFit Passenger 3000# @ 100 FPM | 1 | 0% | 1 | ea | 10500 | 10500
166 |  | Elevator Pit Sump Pump, Little Giant | 3 | 0% | 3 | ea | 650 | 1950
Atmospherics Equipment
167 |  | Taylor-Wharton Liquid Gas Cylinders | 1 | 0% | 1 | ea | 100 | 100
168 |  | Look Solutions Unique 2.1 Hazer Unit 1500W | 1 | 0% | 1 | ea | 2600 | 2600
169 |  | MDG Ice Fog Q™ Low Fog Generator | 1 | 0% | 1 | ea | 14000 | 14000
170 |  | Snow Masters T-1100 Snowmachine | 1 | 0% | 1 | ea | 2800 | 2800
Fire Protection Items
171 |  | Concealed Pendant Sprinkler, 5.6K | 441 | 0% | 441 | ea | 25 | 11025
172 |  | Dry Pendant Sprinkler | 50 | 0% | 50 | ea | 20 | 1000
173 |  | Dry Sidewall Sprinkler | 3 | 0% | 3 | ea | 20 | 60
174 |  | Upright Sprinkler | 82 | 0% | 82 | ea | 20 | 1640
175 |  | Fluid Pipe Network Total Length (Diameters and Types Unavailable) | 6960 | 10% | 7656 | lf | 11 | 84216
Other
176 |  | Little Giant 34CSPT-551301 Condensate Pump | 5 | 0% | 5 | ea | 100 | 500
177 |  | Elevator Sump Pump Control Panel | 3 | 0% | 3 | ea | 2500 | 7500
SUB TOTAL | [7 empty] | 1385820.43 | 1385820.43
OVERHEAD & PROFIT (25%) | [6 empty] | 25% | 346455.1075 | 346455.1075
TOTAL BID | [7 empty] | 1732275.5375 | 1732275.5375
PREPARED BY :
EXCLUSIONS